## Cover Letter (hidden)
Estidama Cover Letter
Cover Letter Requirements:
All Pearl Rating System (PRS) application cover letters must include the following summary table AND attach a signed copy of the Estidama Completeness Checklist (applicable to PRS applications).
All fields highlighted in yellow must be CHECKED and UPDATED as necessary for each submission:
All red cells under the data entry section must be addressed.
All credit related commitment/undertaking letters must be included within the relevant credit folder of the Pearl Rating System submission only.
For more detailed and up to date information on how to submit a Pearl Rating Application click here.
Information Required | Guidance / Notes |  | Data entry (red cells must be completed)
Project Name | Enter the project name
Completeness Checklist Attached? (Yes/No) | Fill in the Estidama Completeness Checklist, print and sign. For Design Rating applications, the PQP must attach the signed Estidama Completeness Checklist to cover letter. The PQP must include a scanned signed copy and corresponding excel version of the Estidama Completeness Checklist in the IDP-R1 credit folder.
Plot Number | Obtained from Municipal Affection Plan
Sector | Obtained from Municipal Affection Plan
Municipality | Select ADM, AAM or WRM from the dropdown menu
Municipality Project ID | Where available this must be provided. Type N/A if not available.
Pearl Rating System | Select villa (PVRS), building (PBRS) or community (PCRS) rating system from dropdown menu
Pearl Rating Stage | Select 'Design' or 'Construction' from dropdown menu
Pearl Rating Targeted | Select from one to five pearls from the dropdown menu
Submission Type | Select either First Submission, Resubmission 1, 2, 3, 4 or 5 from the dropdown menu.
What type of official correspondance from last submission is printed and attached? | For Resubmissions you must attach EITHER: 1. Latest Estidama PRS Review Sheet with PQP responses for all outstanding items OR 2. Notice of Incomplete Submission Email
RE-R1 Compliance Pathway | Prescriptive or Performance (N/A for PCRS)
GFA (m2) | GFA of the building/villa typology submitted. Click here to see definition.
Estidama Project ID | Must be provided for resubmitted projects. The ID can be found on Estidama PRS Review sheets issued for design ratings and / or construction audit correspondance from Estidama to you (PQP).
Urban Development ID | If applicable this must be provided
Comments | For example, list any previous approved similar buildings with their corresponding Estidama ID numbers.
Owner / Owner's Representative Contact Details | Provide the following contact details (In ENGLISH & ARABIC) for the person responsible for receiving all official correspondance for this project:
|  |  | ENGLISH | ARABIC
Name | Enter Name of Owner / Owner Representative
Job Title | Enter Job Title of Owner / Owner Representative
Company | Enter Company Name of Owner / Owner Representative
Email Address | Enter Email Address of Owner / Owner Representative
Phone Number | Enter Phone Number of Owner / Owner Representative
Project Appointed PQP Name: |  | Signature:
Date: |  | Company Stamp:
Note on E27: GFA: The sum of the floor areas of the spaces within a building, including basements, mezzanines and intermediate floors, and penthouses with an internal height of 2.3m or greater. It is measured from the exterior faces of the exterior walls or from the centreline of walls separating buildings. It excludes covered walkways, porches, pipe trenches, exterior terraces or steps, chimneys, roof overhangs and similar features.

## Completeness Check- Const
Estidama Completeness Checklist (Construction Stage) V.1.0
The following common mistakes cause a project submission to be rejected as "incomplete". The project PQP must attach a completed printout of this checklist along with their project submission cover letter and CD or DVD when preparing their Estidama PRS Submission. Note: The final decision on completeness and acceptance of the Estidama Submission is at the discretion of the Estidama Assessor.
Instructions:
1) Fill the Project Information section.
2) Under the PRS Applicability section, determine which Pearl Rating System applies to your project and ensure each line item with a '*' is addressed. | [5 empty] | Project Information
Project Name
3) Under the Project Submission Completeness Check - Self Assessment section, complete each response with a 'Yes' where required documents and submission items are provided or with a 'No' where required documents and submission items are not provided or with an 'N/A' where the requirements are not applicable. Add any comments if needed to provide supplemental explanation. |  |  |  |  | Municipality Project ID
4) After completing steps 1 to 3 above, verify the result of the completeness check self-assessment by clicking here. Complete projects can submit their PRS application for further completeness verification by Estidama. Incomplete projects will not be accepted. |  |  |  |  | Estidama Project ID (from Design Rating)
The color coding of cells and line items denote the following:
Cells that require Data Entry
If any one of these items is not provided, the submission is deemed incomplete.
If three or more of these items is not provided, the submission is deemed incomplete.
| PRS Applicability |  |  |  |  | Project Submission Completeness Check - Self Assessment
| PVRS | PBRS | PCRS |  |  | Response |  | Comments (optional)
GENERAL
Correspondence Protocol | * | * | * | Has the PQP used the latest correspondence protocol instructions? Please note that all Pearl Rating System (PRS) project submission cover letters must include the summary table as per the latest correspondence protocol available on the Estidama website. You are requested to use this protocol in all future submissions to Estidama, visit webpage below: https://www.upc.gov.ae/en/estidama/submit-project |  | No | 1
Construction Award Information | * | * | * | Has the PQP completed the construction rating award information tab within this workbook? |  | No | 1
Utility meter information | * | * | * | Has utility meter information been correctly entered within the construction rating award information tab of this workbook? |  | No | 1
Key missing documentation | * | * | * | Have key submission documents been provided (e.g. Water Calculator, Energy Model Template/Prescriptive Pathway Template etc.)? |  | No | 1
Multiple Building/Villa Compliance Strategy | * | * |  | Has a Multiple-Building/Villa compliance strategy been applied correctly? Note that teams cannot simultaneously submit more than one building/villa - either different buildings/villas on the same site, or buildings of the same typology but different locations - without prior approval from the Estidama team. Please seek advice early on from the Estidama team if you have a multi-building/villa project. If this is a multiple-buildings/ multiple-villa types submission, confirm there is a clear, illustrated narrative outlining the submission strategy. This should explain the project, name each of the buildings, and identify site-wide credits. |  | No | 1
As Built Documentation | * | * | * | Are all drawings submitted "As Built" and approved by the project team? Note: drawings that are 'For Tender' 'For Approval' or 'Shop Drawings' will not be accepted. |  | No | 1
Test Result Documentation | * | * | * | Are all submitted test results approved by the project team? Tests include but not limited to equipment / envelope performance, commissioning, air tightness and envelope verification. |  | No | 1
Bills/ Purchase Receipts / Invoices / Delivery Notes | * | * | * | Does all purchasing evidence include clear, project-specific identification information? |  | No | 1
Photographic Evidence | * | * | * | Where As Built drawings AND photographs are requested, the As Built drawings must be marked up to illustrate the direction of view of each photograph submitted. Accordingly, the Photograph filename must be named in accordance with the direction of views indicated on the As Built drawing. This enables corroboration of photographic evidence (e.g. if five photographs are submitted, the as built drawing(s) must be marked up with five view direction arrows A,B,C,D & E and each of the photographs filenames submitted must be A,B,C,D & E). |  | No | 1
Excessive or Unlabeled Documentation | * | * | * | Are all submitted drawings clearly labelled or appropriately annotated to demonstrate Estidama requirements compliance. Are highlighted extracts of specifications submitted that enables the reviewer to focus on the pertinent compliance information. Are narratives and reports succinct and containing only relevant information that aids the reviewer attempting to make a determination of Estidama compliance? |  | No | 0.35
Project specific documentation | * | * | * | Does the submission documentation exclude references to other project names (i.e. there is no evidence of copy and paste errors within documentation)? |  | No | 1
Version Control | * | * | * | Does the submission utilize the latest version of all calculators/tools available? https://www.upc.gov.ae/en/estidama/pearl-rating-system |  | No | 1
Inconsistent Information | * | * |  | Is the GFA and project information consistent between credits? Specifically, check the Gross Floor Area (m2) values in the Water Calculator and Energy Model Template. Any variation should be explained. Check for variation between HVAC systems in RE-R1, RE-R2, RE-R3, LBi-R1, LBi-R3 and overall area used within PW-R1. |  | No | 0.35
Measurement Units | * | * | * | Are only metric units used throughout the submission? |  | No | 0.35
SOFTWARE | [5 empty] | No
Submission Template Links | * | * | * | Are the links from the Excel Submittal Template to the credit-specific folders functional? Note that renaming credit folders will break the embedded links. |  | No | 1
File/Folder Name Length | * | * | * | Are the total number of characters within the file path below 140? Note having more than 255 Characters in the file path is not supported by the Windows File system. This restriction applies to the complete path including the name of file (e.g.: U:\MyPath\FileName.doc has 22 characters of length). DPM recommends the file path to have a maximum of 140 characters. If you want to investigate which folders/files are problematic visit the below for more details: http://www.javelin-tech.com/blog/2011/08/file-path-length/ |  | No | 1
File Formats for Drawings | * | * | * | Did the PQP provide only pdf, xls, or doc files? (Select 'No' if AutoCAD drawings provided) |  | No | 0.35
Incomplete Submittal Template | * | * | * | Is the information in the Submittal Template complete? This includes the embedded tables for each credit (such as LBo-R3, RE-2, SM-10) and the ‘Document Title and Revision/Drawing Numbers, Title and Revision’ fields for each submission item. Confirm the "Credit Points Summary" tab and "PRS Summary" are accurate. Check the submittal point summary. If this is distorted by excel corruption then download a fresh excel from the website and recomplete. |  | No | 1
Corrupt Files/Blank CD | * | * | * | Is the CD / DVD openable and all submission folders and files contained within are readable? It is recommended that PQPs test this on more than one computer before submitting to the DPM. |  | No | 1
CREDIT SPECIFIC | [5 empty] | No
IDP-R1 (Building Schedule completed with As Built GFA information ) | * | * | * | Complete the Building Schedule tab (within this workbook) with As Built GFA and provide the supporting Final As Built GFA calculation for each building/villa types. |  | No | 1
IDP-R3 Final Commissioning Report Quality |  | * | * | Final Commissioning Report (FCR) must follow the following structure; • Cover Page • Audit Page • Table of Contents • Executive Summary • Report Sections for each system, with a summary of results. For example the summary report section for lighting will include a paragraph outlining the who, what, when and how of the commissioning process. There will be a brief summary table comparing commissioned results with design. It will also include a reference to the appendix of tests sheets/ method statements/ inspection requests, to underpin this summary. • Appendix, each system must have test sheets and commissioning results. They can be included in an appendix and referenced in each report section. • The FCR must be signed by the ICA. |  | No | 1
IDP-R3 Final Commissioning Report Quality | * | * | * | Does the final commissioning report cover all the required systems present in the building? |  | No | 0.35
PW-R1 Manufacturer’s Data Sheets for Fixtures | * | * |  | Are the flow rate graphs on the manufacturer’s charts marked up to show the reference pressure (as per the PRS) and corresponding flow rate clearly? |  | No | 1
RE-R1 - Building Fabric | * | * |  | Provide final area weighted average U Value calculations, including supporting test certificates for ALL applicable components of the buiding fabric such as, but not limited to: - Roof insulation (provide test certificates all applicable roof components that contribute to the specified roof U value) - Wall insulation (provide test certificates all applicable wall components that contribute to the specified wall U value) - Overall fenestration U value calculation (glass+frame) with supporting test certificates for the specified fenestration U value - Glazing SHGC |  | No | 1
RE-R1 - HVAC | * | * |  | Provide COP test certification when tested at full load. Acceptable forms of certification schemes for verifying COP testing include but are not limited to: - Relevant QCC Trustmark Scheme - Air Conditioning Heating & Refrigeration Institute (AHRI) - Eurovent - American Society of Mechanical Engineers (ASME) - Emirates Authority for Standardization and Metrology (ESMA) - Energystar - International Standards Organisation (ISO) Test certification must be supported by purchase evidence referencing the HVAC Equipment specific manufacturers model number, reference number or unique code. |  | No | 1
RE-R1 Lighting | * | * |  | Have final LPD calculations been provided and supported by As Built lighting layout drawings? |  | No | 1
LBi-R1 Separation Distances & Minimum Fresh Air |  | * |  | Have As Built drawings been provided to demonstrate minimum separation distances AND Have final commissioning results been provided demonstrating all spaces receive minimum required fresh air? |  | No | 1
RE-R1 Template Completed | * | * |  | Is the Energy Model Template or Energy Prescriptive Pathway Template completed? Each of the colored cells must contain relevant information. |  | No | 1
RE-R2 CMS Charts |  | * |  | Provide Central Monitoring System (CMS) Charts for each applicable End Use: • Charts must be labeled as per the end use terminology in the credit (as applicable to the project): • Each chart must have a title that clearly identifies the chart i.e. lighting Hourly, lighting Daily, lighting Weekly, lighting Monthly, and lighting Yearly. • Y axis must have units shown, kWh for energy. • X axis must be labelled: hours, days, weeks, months, years. • X axis for all hourly charts must be marked 1 to 24 hours • X axis for all daily charts must be marked 1 to 7 for the 7 days of the week (Day 1 is Monday to day 7 is Sunday) • X axis for all weekly charts must be marked 1 to 52 for the 52 weeks of the year. • X axis for all monthly charts must be marked 1 to 12 for the 12 months of the year (Month 1 is January to month 12 is December) |  | No | 1
PW-R2 CMS Charts |  | * |  | Provide Central Monitoring System (CMS) Charts for each applicable End Use: • Charts must be labeled as per the end use terminology in the credit (as applicable to the project): • Each chart must have a title that clearly identifies the chart i.e. Bib Taps Hourly, Bib Taps Daily, Bib Taps Weekly, Bib Taps Monthly, and Bib Taps Yearly. • Y axis must have units shown, m3 or l/s for water. • X axis must be labelled: hours, days, weeks, months, years. • X axis for all hourly charts must be marked 1 to 24 hours • X axis for all daily charts must be marked 1 to 7 for the 7 days of the week (Day 1 is Monday to day 7 is Sunday) • X axis for all weekly charts must be marked 1 to 52 for the 52 weeks of the year. • X axis for all monthly charts must be marked 1 to 12 for the 12 months of the year (Month 1 is January to month 12 is December) |  | No | 1
SM-R2 Waste Manifests | * | * | * | Does the construction waste tracking register calculate the final recycling rate for the project and are the construction waste values entered supported by CWM Waste Manifests? |  | No | 1
27.75
|  |  |  | Completeness Check Result: | Incomplete
Project Appointed PQP Name:
Date:
Signature:
Note on I12: Found from design rating comment sheets or consruction audit correspondance from Estidama to Project PQP

## Building Schedule
Building Schedule | [5 empty] | Cells that require Data Entry |  |  |  | Pearl Rating Targeted |  |  | For DPM use only
a. You may add additional rows if needed to account for all building types/villa types present in the project. Note this Building Schedule will be read in conjunction with the Development Statistics Summary & Development Phasing Summary (where applicable). b. Enter information in light blue cells and enter/select N/A where input required in 'Not Applicable'.. | [12 empty] | Applicable Rating System |  |  | Minimum Rating Required
Submission Order Priority1 | Building/Villa Name (as stated in the Site Plan) | Site Plan Reference Number2 (if applicable) | Total number of THIS building/villa type present in the project | Building Type3 | Building Use Classification | Building Footprint Area (m2) | As Built GFA4 of Building/Villa Type (m2) | As Built Gross Conditioned Floor Area5 (m2) | Notes (if your building use classification is not listed describe the building here) | PCRS | PBRS | PVRS | PCRS6 | PBRS | PVRS | PCRS | PBRS | PVRS
[19 empty] | 1 Pearl | Airport | General
[19 empty] | 2 Pearls | Civil Defense | Office
[19 empty] | 3 Pearls | Customs | Retail
[19 empty] | 4 Pearls | Data Centre | Multi-Residential
[19 empty] | 5 Pearls | Daycare & Nursery | School
[19 empty] | N/A | Embassy | Mixed Use
[20 empty] | Healthcare | Villa
Hotel
Industrial
Laboratory
Maritime
Military
Police Station
Port Facility
Prison
Recreation
Research
Retail
Retail – Mall
School
Slaughterhouse
Transport
Notes:
1 | Defines the priority order of buildings to be submitted for PBRS review in descending order. It is determined at the discretion of the applicant but is subject to agreement by the DPM. The highest priority building has a Submission Order Priority of 1 and will be first building to be submitted for Estidama PRS review. Factors used to determine the submission order priority include but are not limited to the following criteria: a. Building GFA b. Construction Schedule c. Owner Requirements
2 | This is the reference used to identify the subject building within the site plan submitted (if applicable)
3 | Refer to page 7 of the PBRS
4 | The sum of the floor areas of the spaces within a building, including basements, mezzanines and intermediate floors, and penthouses with an internal height of 2.3m or greater. It is measured from the exterior faces of the exterior walls or from the centreline of walls separating buildings. It excludes covered walkways, porches, pipe trenches, exterior terraces or steps, chimneys, roof overhangs and similar features.
5 | The gross floor area of conditioned spaces; where the conditioned space is defined as per the ANSI/ASHRAE/IESNA Standard 90.1-2007 definition.
6 | The Pearl Community Rating System is designed to be used for development projects, which will support a minimum permanent residential population of 1,000 people, this being the minimum population for which community facilities are required to be provided in accordance with the UPC community facility requirements.

## Const Rating Award Info
Required Information for Issuance of Construction Rating Award
All required information must be completed to avoid delays processing the award letter and award certificate. |  |  | Enter Data into these cells
All information received is considered to be correct, PQP's must ensure all correct spelllings to all inputs. |  |  | For DPM Use Only
DPM are not responsible for any errors.
Estidama Project ID
Date of Award (taken from last Review sheet)
Project Name in Operation | English | Arabic |  |  |  | PVRS
Provide the project name the owner would like to appear on a Construction Rating Award Certificate. Ensure the translation in English and Arabic match. |  |  |  | Abu Dhabi Island | 1 Pearl | PBRS
|  |  |  | Abu Dhabi Mainland | 2 Pearls | PCRS | نظام التقييم بدرجات اللؤلؤ للمباني | لؤلؤة
The Construction award letter will be addressed to the owner or owners representative. Please ensure the details are correct and current for this project. | Insert Details Below - English | Insert Details Below - Arabic |  | Al Reem Island - Abu Dhabi | 3 Pearls |  | نظام التقييم بدرجات اللؤلؤ للفلل | لؤلؤتين
Project Description |  |  |  | Yas Island - Abu Dhabi | 4 Pearls |  | نظام التقييم بدرجات اللؤلؤ للمجتمعات العمرانية | 3 لآلئ
Building Name or Villa Type (If applicable) |  |  |  | Saadiyat Island - Abu Dhabi | 5 Pearls |  |  | 4لآلئ
Number of Buildings or Villas |  |  |  | Al Ain Region |  |  |  | 5لآلئ
Owners Name (letter addressed to) |  |  |  | Al Dhafra Region
Owners Job Title |  |  |  | Other (insert in the row below)
Owner Company Name
PQP Name
PQP Company Name
Project Plot No. (from Site plan)
Project Sector (from Site plan)
Project Location (drop-down list)
Other Project Location (if applicable)
Pearl Rating System
Pearl Rating Targeted (1-5 Pearl)
Pearl Rating Awarded (1-5 Pearl)
For Estidama internal use only
Construction Rating Certificate Number
Assessor Name
Assessor Position
Assessor Telephone Number
Assessor Email
Building Projects
Refer to Building Schedule |  |  | Building Schedule
Villa Projects
For PVRS Construction Awards, provide a Masterplan site layout plan showing all Villa types certified by clicking on the link shown. Within the Masteplan site layout plan drawing include a table listing each Villa type and the correspondening number of villas. |  |  | PVRS Masterplan Site Layout Plan
Utility Meters Numbers (Add rows as required to capture all utility meter number)
Provide the Utility Meter Numbers for Electricity and Water and upload corresponding utility bills to verify these utility meter numbers (refer to Sample Bills tabs to see examples) by clicking on the corresponding links below.
For projects with more than 10 Electricity and Water Meters (e.g. villa developments) you will need to create your own spreadsheet per the format below.
Utility Meter Reference | Utility Meter Number | Upload Bill Below (pdf copy) | Description ( Main End-use/area/system/tenancy to be measured)
Electricity Meter 1 | e.g. ACD11D10101445 | Electricity Meter 1 | Main Incoming Electricity Meter covering all electricity consumption. For PCRS projects please list all meter numbers associated with applicable RE-R3 energy uses
Electricity Meter 2 |  | Electricity Meter 2
Electricity Meter 3 |  | Electricity Meter 3
Electricity Meter 4 |  | Electricity Meter 4
Electricity Meter 5 |  | Electricity Meter 5
Electricity Meter 6 |  | Electricity Meter 6
Electricity Meter 7 |  | Electricity Meter 7
Electricity Meter 8 |  | Electricity Meter 8
Electricity Meter 9 |  | Electricity Meter 9
Electricity Meter 10 |  | Electricity Meter 10
Water Meter 1 | e.g. 10000635 | Water Meter 1 | Main Incoming Water Meter covering all water consumption. For PCRS projects please list all meter numbers associated with applicable PW-R3 water uses
Water Meter 2 |  | Water Meter 2
Water Meter 3 |  | Water Meter 3
Water Meter 4 |  | Water Meter 4
Water Meter 5 |  | Water Meter 5
Water Meter 6 |  | Water Meter 6
Water Meter 7 |  | Water Meter 7
Water Meter 8 |  | Water Meter 8
Water Meter 9 |  | Water Meter 9
Water Meter 10 |  | Water Meter 10

## Sample Bill - Electricity
SAMPLE

## Sample Bill - Water
SAMPLE

## Dropdowns (hidden)
Yes
No
N/A