## Completeness Check
Estidama Completeness Checklist (Design Stage) V.1.1
The following are common mistakes that cause a project submission to be rejected as "incomplete." All project teams must attach a completed printout of this checklist along with their project submission cover letter and CD when doing their Estidama PRS Submissions. Note, the decision of final completeness and acceptance of the Estidama Submission will remain to be at the discretion of the Estidama Assessor.
Instructions:
1) Fill the Project Information cells to the right.
2) Determine what Pearl Rating System applies to your project | [5 empty] | Project Information
3) Check and address line items as applicable to your project under 'PRS Applicability' indicated with the '*' below. |  |  |  |  | Project Name
4) Under the 'Project Submission Completeness Check- Self Assessment' column, complete each line item with a 'Yes' where the required documents and submission items have been provided; with a 'No' where the required documents and submission items where not provided; and with an N/A where the requirements are not applicable. In addition, add any comments if needed as suplimental explanation. |  |  |  |  | Municipality Project ID
5) Once the above steps are done, the result of the completeness check self-assessment will show up in cell I-57 below. Only Complete projects will be accepted to submit their PRS application. |  |  |  |  | Estidama Project ID (for UPC use only)
6) With regards to the color coding of the different cells and line items, do note the following:
These are cells that require Data Entry
If at least ONE of the following required documents and submission items (highlighted in darkish blue) is not provided, the submission is to be deemed incomplete.
If 3 or more of the following required documents and submission items (highlighted in grey) is not provided, the submission is to be deemed incomplete.
| PRS Applicability |  |  |  |  | Project Submission Completeness Check- Self Assessment
| PVRS | PBRS | PCRS |  |  | Response |  | Comments (optional)
PLANNING APPROVALS (LBo-R1) | [8 empty] | Yes
Planning Approval | * | * | * | Confirm that the submission includes a Planning Approval letter (where applicable) from the relevant Agency OR not required to obtain a Planning Approval. Refer to New Development Review Streams Bulletin (UDE Bulletin/2016/DS/002) see link below for further details: http://www.upc.gov.ae/media/182665/doc261216-26122016112513.pdf |  | N/A | 0 |  | No
ADEC Design Approval |  | * |  | For school projects only, has an electronic scanned version of this document been provided within LBo-R1 credit folder? |  | N/A | 0 |  | N/A | Complete | Incomplete
ADPC Approval |  | * |  | For KIZAD projects, has an electronic scanned version of this document been provided within LBo-R1 credit folder? |  | N/A | 0
AWQAF Donor Name Letter |  | * |  | For 1 Pearl mosque projects, has an AWQAF Mosque Donor Letter been provided within LBo-R1 credit folder confirming Mosque Donor as Individual(s)? Note: As of 01-Jan-16, all Mosque projects have to submit a Donor Name Letter from AWQAF as per the requirements of Information Bulletin 15. |  | N/A | 0
GENERAL
Correspondence Protocol | * | * | * | Has the PQP used the latest correspondence protocol instructions? Please note that all Pearl Rating System (PRS) project submission cover letters must include the summary table as per the latest correspondence protocol available on the Estidama website. You are requested to use this protocol in all future submissions to Estidama, see link below: http://estidama.upc.gov.ae/submit-project/submitting-a-pearl-rating-application.aspx |  | No | 1
Key missing documentation | * | * | * | Have key submission documents been provided (e.g. Water Calculator, Energy Model Template/Prescriptive Pathway Template etc.)? |  | Yes | 0
Multiple Building/Villa Compliance Strategy | * | * |  | Has a Multiple-Building/Villa compliance strategy been applied correctly? Note that teams cannot simultaneously submit more than one building/villa - either different buildings/villas on the same site, or buildings of the same typology but different locations - without prior approval from the Estidama team. Please seek advice early on from the Estidama team if you have a multi-building/villa project. If this is a multiple-building/villa submission, confirm there is a clear, illustrated narrative outlining the submission strategy. This should explain the project, name each of the buildings, and identify site-wide credits. |  | N/A | 0
100% Detailed Design Dcoumentation | * | * | * | Is the documentation representative of 100% Detailed Design stage? |  | Yes | 0
Specification Format | * | * | * | Do specifications documents have clear, project-specific labelling and follow a standard specifications format? |  | Yes | 0
Excessive or Unlabeled Documentation | * | * | * | Are clearly-labelled/highlighted extracts of drawings and specifications, supported by short narratives, and supplementary documentation provided? |  | Yes | 0
Project-Specific documentation | * | * | * | Does the submission include references to other project names? |  | Yes | 1
Version Control | * | * | * | Does the submission utilize the latest version of all calculators/tools available? Check www.estidama.gov.ae for updates. |  | Yes | 0
Inconsistent Information | * | * | * | Is the GFA and project information is consistent between credits? Specifically, check the Gross Floor Area (m2) values in the Water Calculator and Energy Model Template. Any variation should be explained. Check for variation between HVAC systems in RE-R1, RE-R2, RE-R3, LBi-R1 and LBi-R3. |  | Yes | 0
Measurement Units | * | * | * | Are only metric units used throughout the submission? |  | Yes | 0
SOFTWARE | [5 empty] | No
Submission Template Links | * | * | * | Are the links from the Excel Submittal Template to the credit-specific folders functional? Note that renaming credit folders will break the embedded links. |  | Yes | 0
File Formats for Drawings | * | * | * | Did the PQP provided only pdf, xls, or doc files? (Select 'No' if AutoCAD drawings provided) |  | Yes | 0
Incomplete Submittal Template | * | * | * | Is the information in the Submittal Template complete? This includes the embedded tables for each credit (such as LBo-R3, RE-2, SM-10) and the ‘Document Title and Revision/Drawing Numbers, Title and Revision’ fields for each submission item. Confirm the "Credit Points Summary" tab and "PRS Summary" are accurate. |  | Yes | 0
Corrupt Files/Blank CD | * | * | * | Is the CD and files submitted openable? It is recommended that PQPs test this on more than one computer before submitting to the UPC. |  | Yes | 0
CREDIT SPECIFIC | [5 empty] | No
IDP-R3 ICA Appointed |  | * | * | Has documentation been provided confirming that a qualified Independent Commissioning Agent has been employed (including a contract/appointment letter with the ICA)? |  | Yes | 0
IDP-R3 Design Document Review |  | * | * | Has a design document review been provided? |  | Yes | 0
IDP-R3 Design Document Review Quality |  | * | * | Does the design document review cover all the required systems present in the building? |  | Yes | 0
NS-R1 Natural Systems Assessment | * | * | * | Has a sufficient Natural Systems Assessment has been prepared? Specifically, if the site is extensive or in a sensitive location, confirmation of EAD approval will be required. |  | Yes | 0
LBi-R1 and LV-R3 Ventilation Calculations | * | * |  | For Villa projects, is a completed Estidama Ventilation Calculator provided with all relevant drawings and documents? For Building projects, is a complete and clear ventilation rate procedure calculations provided showing values for both Ra & Rp, as per ASHRAE 62.1? |  | Yes | 0
LBi-R1 Ventilation Calculations & EMT |  | * |  | For performance based projects, are the ventilation calculations consolidated to match the zones present in the EMT? |  | Yes | 0
RE-R1 Template Completed | * | * |  | Is the Energy Model Template or Energy Prescriptive Pathway Template completed? Each of the colored cells must contain relevant information. |  | Yes | 0
RE-R1 Supporting Documentation | * | * |  | Are the design values indicated within the Energy Model Template or Energy Prescriptive Pathway Template shown in construction documents/specifications? This includes supporting specification extracts and drawings, clearly confirming that the building envelope, HVAC, lighting, and water heating system parameters are achieved. Ensure that area-weighted U-value calculations are provided. These calculations must be supported with appropriate elevation drawings and section details for each wall element and roof section. |  | Yes | 0
RE-R1 Energy Model Baseline |  | * |  | Has the correct baseline HVAC system(s) been selected based on the conditioned area? |  | Yes | 0
RE-R1 Building Area Methodology |  | * |  | Does the energy model template follow a Space-by-Space method with the appropriate information for each space provided under the "General Details," "Occupancy & Fresh Air," and "Lighting & Process" tabs of the Energy Model Template? The "Building Area" method should only be used where determined applicable by the UPC. |  | Yes | 0
2
|  |  |  | Completeness Check Result: | Incomplete
Project Appointed PQP Name:
Date:
Signature: